SSERC Risk Assessment (revised version March 2018)

(based on HSE’s INDG 163 ‘Risk assessment - A brief guide to controlling risks in the workplace’)

2 Pitreavie Court, South Pitreavie Business Park, Dunfermline KY11 8UU

tel : 01383 626070	e-mail : enquiries@sserc.org.uk		web : www.sserc.org.uk

| ###### Activity assessed | Electrical equipment |
| --- | --- |
| Date of assessment | August 2022 |
| Date of review (Step 5) |  |
| School |  |
| Department |  |

| Step 1 | Step 2 | Step 3 | Step 4 |  |  |
| --- | --- | --- | --- | --- | --- |
| List Significant hazards here: | Who might be harmed and how? | What are you already doing? What further action is needed? | Actions |  |  |
|  |  |  | by whom? | Due date | Done |
| Electric shock due to faulty wiring, exposed sockets or short circuits | Anyone using the equipment if exposed to a live part. | Adequate reporting procedures must be set in place with regard to electrical hazards. Members of staff without the relevant competences must not interfere with or attempt to make repairs to electrical equipment. All mains supplies must be protected with residual current devices (RCD). These must be tested on a regular basis. |  |  |  |
| Electric shock due to faulty equipment |  | All electrical equipment must be PAT tested and testing must be kept up to date as indicated by a sticker on the appliance.* Staff should visually inspect all pieces of electrical equipment for any sign of defects including: Wear on cables, exposed cables, scorch marks on the plug and damaged plugs and sockets. Arrangements should be made to ensure that equipment is repaired or disposed of as necessary. |  |  |  |
| Electric shock from inappropriate use of apparatus or use of unsuitable equipment. | Anyone using the equipment | Warn pupils of the dangers associated with electricity. Where practical, electrical equipment should be low voltage (110V or battery operated). Pupils must not use EHT supplies under any circumstances. Equipment should be left on for the minimum amount of time. Keep electrical equipment away from water and water sources. |  |  |  |

Description of activity: Use of mains powered electrical devices. Faults can lead to shock or fire. * There is nothing set in law for frequency of PAT testing. Low hazard, fixed items like desktop computers may only need testing every several years. Some devices in technology workshops may need testing every 3 – 6 months.

Additional comments: Equipment that works on low voltage via a transformer is inherently safer than any running at mains voltage. Domestic devices should be avoided in most cases. These are rarely built to the right standard for school usage and will often lack important safety features.