SSERC Risk Assessment (revised version March 2018)

(based on HSE’s INDG 163 ‘Risk assessment - A brief guide to controlling risks in the workplace’)

2 Pitreavie Court, South Pitreavie Business Park, Dunfermline KY11 8UU

tel : 01383 626070	e-mail : enquiries@sserc.org.uk		web : www.sserc.org.uk

| ###### Activity assessed | Hot liquids and surfaces |
| --- | --- |
| Date of assessment | August 2022 |
| Date of review (Step 5) |  |
| School |  |
| Department |  |

| Step 1 | Step 2 | Step 3 | Step 4 |  |  |
| --- | --- | --- | --- | --- | --- |
| List Significant hazards here: | Who might be harmed and how? | What are you already doing? What further action is needed? | Actions |  |  |
|  |  |  | by whom? | Due date | Done |
| Hot liquids can cause scalds | Anyone heating liquids through spillage or spitting of hot liquids | Glassware being used for heating liquids should be checked for cracks before use and rejected of any are found. No one should be sitting near a heated liquid: that would allow for the hot liquid if spilled to flow into their laps and do harm before they can move away. Eye protection should be worn when boiling liquids. No containers of boiling liquids should be pointed towards another person – eg test tubes. |  |  |  |
| For liquids with chemical hazards, the heat can exacerbate the danger. | Anyone heating hazardous liquids through spillage or spitting of hot liquids | Eg hot acids are more hazardous than cold ones. The same precautions as above should suffice but extra care is needed. |  |  |  |
| Hot surfaces can cause burns | Anyone through touching hot surfaces or objects | Adequate caution must be taken when clearing away substances and equipment. Care must be taken when clearing away hot beakers etc. Everyone must be warned of risks. For items like hotplates that remain hot for a long time, signs should be put on them to warn people who might otherwise touch them. Protective gloves must be worn when handling hot materials and substances, unless tongs or other mechanical devices are available. |  |  |  |

Description of activity:

Additional comments: