SSERC Risk Assessment (revised version March 2018)

(based on HSE’s INDG 163 ‘Risk assessment - A brief guide to controlling risks in the workplace’)

2 Pitreavie Court, South Pitreavie Business Park, Dunfermline KY11 8UU

tel : 01383 626070	e-mail : enquiries@sserc.org.uk		web : www.sserc.org.uk

| ###### Activity assessed | Use of Display Screen Equipment |
| --- | --- |
| Date of assessment | August 2022 |
| Date of review (Step 5) |  |
| School |  |
| Department |  |

| Step 1 | Step 2 | Step 3 | Step 4 |  |  |
| --- | --- | --- | --- | --- | --- |
| List Significant hazards here: | Who might be harmed and how? | What are you already doing? What further action is needed? | Actions |  |  |
|  |  |  | by whom? | Due date | Done |
| Computers are Electrical appliances and can cause shock or fire due to faults. | Technician or other user can receive a shock or be harmed by fire. | Ensure that all electrical equipment is PAT tested and that this test is up to date. All mains supplies should be RCD protected. Keep electrical equipment away from water and water sources. Visual inspect all pieces of equipment look out for: - wear on cables - exposed cables - scorch marks on the plug - damaged plugs or sockets |  |  |  |
| Using IT equipment for long periods or if inappropriately set up can cause various musculoskeletal disorders as well as eyestrain and headaches, tiredness and stress. | Any user using IT equipment for lengthy periods is at risk of musculoskeletal disorders | Limit time of use of IT equipment as far as is possible Allow for frequent breaks – if possible user should move around. Ensure a suitable chair with lumbar support is provided. Ensure the devices are set up appropriately at the correct height etc for the user. |  |  |  |
| Frequent use of a mouse in particular is the cause of many musculoskeletal disorders. | Any user using a mouse for lengthy periods is at risk of musculoskeletal disorders | Ensure setup is suited to the user and arrange for an alternative design input device if required. |  |  |  |
| Poor lighting can cause eyestrain and headaches. | Any user working with poorly positioned IT equipment. | Screens should be positioned such that they are clearly visible, at the correct height and with no glare. |  |  |  |

Description of activity:

Additional comments: More detailed guidance is available on the SSERC website.