SSERC Risk Assessment (revised version March 2018)

(based on HSE’s INDG 163 ‘Risk assessment - A brief guide to controlling risks in the workplace’)

2 Pitreavie Court, South Pitreavie Business Park, Dunfermline KY11 8UU

tel : 01383 626070	e-mail : enquiries@sserc.org.uk		web : www.sserc.org.uk

| ###### Activity assessed | Using Glassware |
| --- | --- |
| Date of assessment | August 2022 |
| Date of review (Step 5) |  |
| School |  |
| Department |  |

| Step 1 | Step 2 | Step 3 | Step 4 |  |  |
| --- | --- | --- | --- | --- | --- |
| List Significant hazards here: | Who might be harmed and how? | What are you already doing? What further action is needed? | Actions |  |  |
|  |  |  | by whom? | Due date | Done |
| Cracks in glassware can lead to breakage | Technicians and others if glass cracks during usage spilling hot or harmful substances. | Inspect glassware before starting exp. On observing cracks during experiment, stop immediately and remove from service – probably dispose. Any liquids spilled should be dealt with as appropriate. |  |  |  |
| Heating glassware | Technicians and others. When heated, any inherent flaws in the glass can cause it to shatter. | Glass should be pyrex (or heat-resistant equivalent) Always use extreme care. Avoid direct flames onto glassware (unless specific instructions given to do so). Inspect before use for the appearance of cracks. Eye protection should be worn when heating glass or other materials. Any liquids spilled should be dealt with as appropriate. |  |  |  |
| Breakages – danger of splintering and cuts from sharp edges. | Technicians and others by cuts | Any breakages should be cleared up immediately using appropriate care and equipment. Broken glass swept up and disposed of in specific “glassware bin”. Any liquids spilled should be dealt with as appropriate. |  |  |  |
| Handling hot glassware | Technicians and others from burns. | Glass can remain very hot for quite a long time. Always use appropriate test tube holders, rubber gloves etc. Otherwise, wait until glassware is cool enough to handle. |  |  |  |

Description of activity: Any practical work involving use of glassware eg.test tubes, beakers, filter funnels, petri-dishes, flasks, measuring cylinders etc.

Additional comments: Hot glassware such as beakers, after heating, can be carried by the thick rim at the top, which is generally much cooler than the rest of the glass.