SSERC Risk Assessment (revised version March 2018)

(based on HSE’s INDG 163 ‘Risk assessment - A brief guide to controlling risks in the workplace’)

2 Pitreavie Court, South Pitreavie Business Park, Dunfermline KY11 8UU

tel : 01383 626070	e-mail : enquiries@sserc.org.uk		web : www.sserc.org.uk

| ###### Activity assessed | Handling Chemicals |
| --- | --- |
| Date of assessment | August 2022 |
| Date of review (Step 5) |  |
| School |  |
| Department |  |

| Step 1 | Step 2 | Step 3 | Step 4 |  |  |
| --- | --- | --- | --- | --- | --- |
| List Significant hazards here: | Who might be harmed and how? | What are you already doing? What further action is needed? | Actions |  |  |
|  |  |  | by whom? | Due date | Done |
| Hazardous chemicals must be handled by competent people in a safe and appropriate manner. | Anyone coming into contact with potentially hazardous chemicals. | All chemicals must be handled, stored, prepared and disposed of in the manner described by the SSERC Hazardous Chemicals database (or by the supplier’s safety data sheets – though these are often less suitable for a school context). |  |  |  |
| If a risk assessment determines it is needed, suitable PPE must be made available and be used. | Anyone coming into contact with potentially hazardous chemicals. | Eye protection, protective gloves, fume cupboards and any other equipment should be available and used appropriately in the handling of substances. |  |  |  |
| Flammable chemicals can cause fires | Technicians (and others) could be burned in the case of fire. | When handling flammable substances, sources of ignition must be removed prior to the use of flammable substances. Lids should be replaced on containers immediately after use. Particular care should be taken with the more volatile flammables as flammable vapours can spread a long way before ignition. |  |  |  |
| Corrosive chemicals can cause serious burns | Technicians (and others) could be harmed by splashes or other contact with corrosive liquids (or possible solids) | Corrosive solids are a minor problem. As long as gloves are worn then normal laboratory technique should be sufficient. For corrosive liquids, indirect vent goggles (EN166 3) should be worn, or possibly face shields for large quantities of highly corrosive substances such as concentrated acids. Depending on the corrosivity, the quantities and the activity, gloves might be needed. For substances that are irritant, eye protection such as safety spectacles (EN166) will be sufficient. Gloves may be needed if quantities are large or the user has sensitive skin. |  |  |  |
| Inhalation of fumes can cause harm | Technicians (and others) could be harmed by inhalation of toxic or corrosive fumes. | If the quantity is small and/or the level of fume produced or the toxicity is low then working in a well-ventilated prep-room or laboratory will be sufficient. If the level of fume is more problematic, a fume cupboard should be used. For any large-scale activity undertaken by technicians, this should be a ducted, not filtered, fume cupboard. Details for specific activities can be found on the relevant risk assessment. SSERC does not recommend RPE (except in some cases for protection from dust) as it requires a certain amount of expertise to ensure it fits properly. |  |  |  |
| Harm can be caused if chemicals are stored in unsuitable places or ways, especially if not secure. | Anyone coming into contact with potentially hazardous chemicals. | All chemicals must be stored appropriately, separating acids, alkalis, flammables and oxidising agents. Flammable substances must be kept in fire resistant storage. Storage areas must be well ventilated and contain no source of ignition. It must be locked when unattended by staff. Substances must not be stored in laboratories. They must be kept in a storeroom specifically for the purpose. Any chemicals with a safe shelf life (SSL) should be checked at regular intervals. |  |  |  |
| Harm can be caused by spillage of chemicals | Anyone working with hazardous chemicals. | Only have minimum quantities of hazardous chemicals out so that in the case of spillage, the minimum is spilled. Ensure a suitable spillage kit is available when working with hazardous chemicals. When transporting chemicals, ensure they are in sealed containers and being carried using suitable carriers or on trolleys. If chemicals need to be transported along corridors, extra care should be taken: try to avoid busy times. When working with chemicals, ensure processes do not take place too close to the edge of benches or in other situations where the containers could fall or be knocked off. |  |  |  |

Description of activity: Handling chemicals can lead to a variety of hazards. As long as SSERC guidance is followed, though, there will be few problems.

Additional comments: